## SCH IR 6.3.22 Power Outage
Incident Report Checklist
|  |  | Facility Name: | Saratoga
|  |  | Technician: | Ted Been
|  |  | Manager/Supervisor: | Peter Russo
|  |  | Date of Incident: | 2022-06-03
|  |  | Start Time: | 9:23
|  |  | End Date and Time: | 2022-06-03 11:00
Type of Problem |  |  | House Related Issues
Description of Problem |  |  | Power Outage
Device(s) Involved |  |  | All Devices
Brief Description of Incident
The entire facility had a brief power outage on 6/3//2022 at 9:23am. Power was restored in under 10 seconds and all game /device issues were resolved Reconnecting /Rebooting or NVRAM Clears were done. All issues resolved by 11:00am.
Additional Technician Comments
All devices playable by 11:00am. Incidental topper displays not affecting game play may need to be replaced or repaired. Pending parts.
Additional Management Comments
Notification
Key Consideration | Question |  | Explanation/Comments/Notes
Type of Incident | What type of Incident has occurred? |  | Power Outage
Cause | What caused the incident? |  | Unknown
Effect | What effect did the incident have? |  | Devices lost power
Lead | Did you notify Lead Technician on duty? Please list the Lead, and time notified. |  | Present
Supervisor | If no Lead Tech is on duty, please contact a Supervisor. List date and time. |  | Pete Russo Notified by text @ 9:23am
Key Consideration | Question |  | Explanation/Comments/Notes
Machine Freeze | Did the issue require a reboot or a RAM clear to resolve? |  | Yes / Some devices NVRam Cleared
Communications Error | Did the devices fail to connect to the server? |  | Some needed reconnects.
Tilts and/or Errors | Please list any errors or tilts that may have occurred during this incident. |  | CALL ATTENDANT" "Protocol COMM Error" Black monitors, "Non Employee Door Access" "Stacker Open"
Engineering Documentation
Key Consideration | Question |  | Explanation/Comments/Notes
Connectivity | Did devices loose connection during play? Was it banks at a time or sporadic behavior? |  | No
Cash-Out | Were there cash out problems? If so, please explain how the cash out process occurred during this incident. |  | No
Reboot Process | How was the reboot made? Did you reconnect first, or did you do a hard reboot? |  | Both
Ram Clear Process | Did you do an NVRAM clear, or full RAM clear? |  | NVRam Clears done.
Documentation
Key Consideration | Question |  | Explanation/Comments/Notes
EVERI Session History | Is a Session History attached for the incident? |  | N/A
EVERI Error Log | Was an Error Log supplied from EVERI? If so, please attach. |  | N/A
Machine Event History | Did you print the Error History from the device before RAM clearing? If so, please attach. |  | N/A
Digital Pictures | Did you take digital pictures of the back screen, Event History, Play History, etc.? If so, please attach. |  | N/A
Surveillance Tape | Is there any Surveillance Tape available that shows what occurred? (You must request this through NYGC.) |  | N/A
Revenue or Parts Loss
Key Consideration | Question |  | Explanation/Comments/Notes
Revenue Loss | Was there Revenue Loss? Estimate loss. |  | No
Parts Loss | Was there damage, causing part replacement? Provide an estimated cost of parts used. |  | Some toppers did not recover and need to be repaired.
Location | Serial # | Device Name | Description of Parts Used | Part Number
Varies | Varies | Varies | N/A | N/A